## FARAFENNI
MAIN BUILDING
Item | Description | Qty | Unit | Rate | Dalasi
1 | FARAFENNI YOUTH CENTRE (GROUND FLOOR) HALL
1.1 | Remove all existing columns | 4 | no |  | 0
1.2 | Excavate 1000mm x1000mm x 350mm pad foundation | 14 | m3 |  | 0
1.3 | Cut and provide concrete columns 400mm x 200mm x 7000mm along the perimeter wall | 15 | m3 |  | 0
1.4 | Scrape off paint and prepare, prime and apply two coats of emulsion paint to wall | 283 | m3 |  | 0
1.5 | Prepare the floor and provide 50cm x 50cm floor tiles | 270 | m2 |  | 0
1.6 | Provide concrete Floor screed to 75mm thick | 27 | m2 |  | 0
2 | REINFORCEMENTS
2.1 | 4 T12 mm Diameter bars in columns | 499 | m |  | 0
2.2 | 6mm Diameter links in columns at 200mm centres | 624 | m |  | 0
2.3 | T16mm diameter bars in column base(baskets) 150mm both ways | 336 | m |  | 0
3 | SERVICES
3.1 | Replace the existing electrical installations with new items | 1 | LS |  | 0
3.2 | Replace the existing plumbing system with new ones | 1 | LS |  | 0
3.3 | Excavate and build new septic tank | 1 | LS |  | 0
3.4 | Build new manhole | 1 | LS |  | 0
4 | DOORS AND WINDOWS
4.1 | Remove and replace the existing door with alutec door or equivalent (1200mm X 2100mm) double doors | 2 | no |  | 0
4.2 | Remove and replace the existing door with alutec door or equivalent (900mm X 2100mm) single doors | 10 | no |  | 0
4.3 | Remove and replace existing windows with sliding window tInted glass (1500mm x1200mm) | 16 | no |  | 0
4.4 | Remove and replace existing windows with sliding window tinted glass (600mm x600mm) | 2 | no |  | 0
4.5 | Provide concrete roof slab | 68 | m3 |  | 0
5 | RESTAURANT
5.1 | Partitioned wall to accommodate new kitchen with 150mm thick blockwork | 10 | m2 |  | 0
5.2 | plaster wall both sides with 12mm thick sand cement ration 1:4 | 20 | m2 |  | 0
5.3 | Paint walls with first and second course | 20 | m2 |  | 0
5.4 | provide cooking gas stove with minimum 4 hobs | 1 | no |  | 0
5.5 | Provide kitchen sink | 1 | no |  | 0
5.6 | Plumbing system | 1 | no |  | 0
5.7 | Prepare all existing walls and paint | 102 | m2 |  | 0
5.8 | Provide new doors | 2 | no |  | 0
5.9 | Provide new windows | 2 | no |  | 0
|  | SUMMARY TOTAL 1 |  |  | 0

## BASKETBALL COURT
MAIN BUILDING
Item | Description | Quantity | Unit | Rate | Dalasi
1 | FARAFENNI YOUTH CENTRE (GROUND FLOOR) HALL
1.1 | Rescreed court with50mm thick basalt aggregate | 594 | m2 |  | 0
0
1.2 | Provide 8mm reinforcement with high yield bars at 150 centres both ways | 594 | m2 |  | 0
0
1.3 | introduce removable volleyball post | 2 | no |  | 0
0
1.4 | Replace volleyball net | 1 | no |  | 0
0
1.5 | Replace basketball ring | 2 | no |  | 0
0
1.6 | provide chainlink fence | 216 | m2 |  | 0
1.7 | Provide perimeter blocwork fence | 216 | m2 |  | 0
0
1.8 | Provide strip footing for the fence | 4 | m3 |  | 0
1.9 | T10 mm Diameter bars in strip | 432 | m |  | 0
0
2 | T10 mm Diameter bars in columns | 280 | m |  | 0
0
2.1 | 6mm Diameter links in columns at 200mm centres | 520 | m |  | 0
0
|  | SUMMARY TOTAL 1 |  |  | 0

## SUMMARY TOTAL FARAFENNI
| FINAL SUMMARY |  | D
| SUMMARY TOTAL PAGE 1 |  | 0
| BASKETBALL COURT |  | 0
| CONTINGENCY SUM |  | 200000
TOTAL
E
F
G
H
I
J
K
L
DOORS AND WINDOWS
DOORS
A
B
C
D
E
F
G
H
0
0
C
D
E
F
G
H
I
J
B
C
D
E
F
G
F
G
H
Note on C114: veranda wall included no deductions for openings.