## PRELIMS
Table 1
Item | Description |  | Amount
A | General
| 1 | Definitions
| 2 | Interpretation
| 3 | Language and Law
| 4 | Project Manager's Decisions
| 5 | Delegation
| 6 | Communications
| 7 | Subcontracting
| 8 | Other Contractors
| 9 | Personnel
| 10 | Employer's and Contractor's Risks
| 11 | Employer's Risks
| 12 | Contractor's Risks
| 13 | Insurance
| 14 | Site Investigation Reports
| 15 | Queries about the Contract Data
| 16 | Contractor to Construct the Work
| 17 | The Works to Be Completed by the Intended Completion Date
| 18 | Approval by the Project Manager
| 19 | Safety
| 20 | Discoveries
| 21 | Possession of the Site
| 22 | Access to the Site
| 23 | Instructions
| 24 | Disputes
| 25 | Procedure for Disputes
| 26 | Replacement of Adjudicator
B | TIME CONTROL
| 27 | Program
| 28 | Extension of the Intended Completion Date
| 29 | Acceleration
| 30 | Delays Ordered by the Project Manager
| 31 | Management Meetings
| 32 | Early Warning
C | QUALITY CONTROL
| 33 | Identifying Defects
| 34 | Tests
| 35 | Correction of Defects
| 36 | Uncorrected Defects
D | COST CONTROL
| 37 | Bill of Quantities
| 38 | Changes in the Quantities
| 39 | Variations
| 40 | Payments for Variations
| 41 | Cash Flow Forecasts
| 42 | Payment Certificates
| 43 | Payments.
| 44 | Compensation Events
| 45 | Tax
| 46 | Currencies
| 47 | Price Adjustment
| 48 | Retention
| 49 | Liquidated Damages
| 50 | Bonus
| 51 | Advance Payment
| 52 | Securities
| 53 | Dayworks
| 54 | Cost of Repairs
E | FINISHING THE CONTRACT
| 55 | Completion
| 56 | Taking Over
| 57 | Final Account
| 58 | Operating and Maintenance Manuals
| 59 | Termination
| 60 | Payment upon Termination
| 61 | Property
| 62 | Release from Performance
| 63 | Suspension of Bank Loan or Credit
PRELIMINARIES HEADING
The site/Existing buildings
Description of the work
The Contract/Sub-contract
Provision content and use of document
Management of the works
Quality standards/Control
Security/Safety/Protection
Specific limitations on method/sequence/timing/use of site
Facilities/temporary works/services
Operation/Maintenance of the finished building
Management and staff
Site accommodation
Services and facilities
Mechanical plant
Temporary works
Work/ Materials by Employer
Nominated sub-contracts
Nominated suppliers
Work by statutory authorities
Provisional
dayworks
In addition to the above the contractor is to allow for the following:-
1-Project Sign boards (2Nr), details to be specified by the employer
2-Filling of site monitoring forms in the format specified
3-Filling of labour return forms in the format specified
CONTINGENCY
A |  | Allowance for contingency sum; for works or cost that cannot be entirely foreseen, to be expended on the expressed instructions of the Consultant. | #REF!
PROVISIONAL SUM
Daywork
Labour
Percentage adjustment for dayworks labour.
Material
Percentage adjustment for dayworks material.
Plant
Percentage adjustment for dayworks material.
|  | Total Carried to Summary | #REF!

## Main Bill - Mile 7 Site
Item | Description | Qty | Unit
A | FARAFENNI ENTREPRENEURSHIP DEVELOPMENT CENTRE
2 | Excavate top soil to reduced level; 150mm average depth | 39 | m3
3 | Excavate trenches and pits for foundation maximum depth not exceeding 1500 mm | 158 | m3
4 | Disposal of surplus excavated material by spreading on site | 48 | m3
5 | Backfill with selected excavated material; trenches and pits | 110 | m3
6 | Make up levels with approved hardcore filling in layers not exceeding 150mm, well compacted | 104 | m3
7 | 1200 guage polythene sheet damp proof membrane laid on sand blinding | 232 | m2
8 | 25mm sand blinding to receive damp proof membrane | 232 | m2
Concrete Work
Class 10 plain, in-situ concrete
9 | Trenches and Pits; 50mm thick | 5 | m3
Class 15 reinforced, in-situ Concrete, washstone
10 | Oversite concrete; 150mm thick | 35 | m3
Class 20 reinforced, in-situ Concrete, washstone
11 | Strip Foundation; 200mm thick | 21 | m3
12 | Ground Beam; 140 x 200 mm | 4.3 | m3
Class 25 reinforced, in-situ Concrete, basalt
13 | Pad Foundation; 300mm thick | 8 | m3
14 | Columns; 150 x 150mm | 1 | m3
Reinforcement
15 | 6mm stirrups to Columns | 90 | m
16 | 6mm stirrups to ground beam | 459 | m
17 | 6mm to floor concrete | 2320 | m
18 | 10mm to columns and column bases | 436 | m
19 | 10mm to ground beam | 612 | m
Formwork/Shuttering
20 | to edges of floor concrete | 70 | m
Masonry
21 | Blockwork Walls; 240 x 240mm CSEB, 6N/mm2 | 298 | m2
22 | Blockwork Columns; 140 x 290mm CSEB, 6N/mm2 | 42 | m2
SUB-STRUCTURE TO SUMMARY
B | SUPERSTRUCTURE
GROUND FLOOR (G.F.) FRAMES
Class 15 Reinforced in-situ concrete; washstone
1 | Lintels; 140 x 100 | 1.7 | m3
3 | Ramps and steps | 1 | m3
Class 25 Reinforced in-situ concrete; basalt
4 | Columns; 150 x 150mm | 1.3 | m3
5 | Ring beam; 240 x 250mm | 11.5 | m3
6 | First floor slab; 150mm thick | 35 | m3
Reinforcement
7 | 6mm stirrups to Columns | 153 | m
8 | 6mm stirrups to lintel | 145 | m
9 | 6mm stirrups to Ring Beam | 855 | m
10 | 8 mm to lintels | 242 | m
11 | 10mm to slab | 2320 | m
12 | 12mm to Columns | 238 | m
13 | 12mm to Ring Beam | 760 | m
Formwork/Shuttering
14 | to edges of slab concrete | 70 | m
15 | Support to slab soffit | 232 | m2
G.F. FRAMES TO SUMMARY
C | G.F. WALLS AND PARTITIONS
Masonry
1 | Blockwork Walls and columns; 240 x 240 mm CSEB, 6N/mm2 | 436 | m2
2 | Blockwork; 140 x 290mm CSEB, 4N/mm2 ; | 60 | m2
G.F. WALLS AND PARTITIONS TO SUMMARY
G | WINDOWS
Aluminium and glass with mosquito netting
1 | 1200 x 1200mm; W1 | 11 | no.
3 | 600 x 700mm; W2 | 7 | no.
4 | Burglar proofing
5 | 1200 x 1200mm; | 11 | no.
7 | 600 x 700mm | 7 | no.
WINDOWS TO SUMMARY
H | DOORS
Standard, galvanized metal door complete with ironmongery and high quality locks (with vision panel)
1 | Double Hinge door; 1200 x 2000mm; D1 | 1 | no.
2 | Single Hinge door; 900 x 2000mm; D2 | 3 | no.
Wooden Panel Door with frame
3 | Single hinge door, internal door; 700 x 2000mm; D3 | 6 | no.
4 | Single hinge door, internal door; 800 x 2000mm; D4 | 6 | no.
Aluminium and Glass Door with W3 window panels
5 | Double hinge, external door, 1800 x 2000mm; D5 | 3 | no.
DOORS TO SUMMARY
I | FINISHES
Floor Finishes
1 | Glazed Porcelain floor tiles on 50mm thick sand and cement screed bed including tiles for steps, ramps and staircases | 232 | m2
2 | Skirting tiles 100mm high on 13mm screed backing | 140 | m
Wall Finishes
3 | 12mm thick sand and cement rendering on skirting of external walls, door and window jambs | 137 | m2
4 | Glazed Ceramic wall tiles on 13mm screed backing | 72 | m2
Painting
5 | Clear Vanish to internal and external walls | 992 | m2
6 | Ceiling Finishes
7 | Plywood, 6 mm | 232 | m2
FINISHES TO SUMMARY
J | PLUMBING INSTALLATIONS
Disposal
1 | PVC pipes; 110mm, 50mm; with assessories with floor gullies for showers, etc.
Water Supply
2 | Polythene pipes; 25mm, with push-fit fittings and assessories
3 | Tupex pipes; 15mm, with fittings and assessories + stop valves
Septic Tank and Soakaway
4 | Septic Tank measuring 3 x 3.5 x 3m deep with reinforced concrete columns and cover; blockwork walls rendered internally, with buffer section | 2 | no.
5 | Soakaway measuring 2 x 1 x 3m deep with reinforced concrete base, columns and cover; blockwork walls | 2 | no.
Sanitary and Other Appliances
6 | W.C. complete with fittings and accessories | 6 | no.
7 | Wash Hand Basin complete with fittings and accessories and stand | 4 | no.
8 | Kitchen sink, complete | 1 | no.
PLUMBING INSTALLATIONS TO SUMMARY
K | ELECTRICAL INSTALLATIONS
1 | Distribution Box; 24-ways | 1 | no.
2 | Earthing rod; 1200mm length including accessories
3 | Cables
4 | UPVC conduits, flexible pipe; 25mm; plastic boxes, circular boxes, etc.
5 | Switches and sockets
6 | Light fittings (internal 29no.and external 8no.)
7 | Ceiling Fans | 11 | no.
ELECTRICAL INSTALLATIONS TO SUMMARY
| Description | Qty | Unit
L | SUMMARY PAGE
A | Sub-structure
B | G.F. Frames
C | G.F. Walls and Partitions
G | Windows
H | Doors
I | Finishes
J | Plumbing Installations
K | Electrical Installations
Total for Farafenni Entrepreneurship Centre
Total including Preliminaries
Fence + Gates
Excavation and Fill
1 | Excavate trenches and pits for strip foundation maximum depth not exceeding 500 mm | 15 | m3
Concrete Work
Class 20 reinforced, in-situ Concrete, washstone
2 | Strip Foundation and pad foundations; 150mm thick | 5 | m3
3 | Columns; 150 x 150 mm | 0.7 | m3
Reinforcement
4 | 6mm stirrups to Columns, at 200mm intervals | 108 | m
5 | 12mm to columns and column bases | 196 | m
Masonry
6 | Blockwork Walls; 295 interlocking CSEB, 1500mm high from foundation | 77 | m2
Painting and Decoration
7 | 12mm thick rendering on blockwork walls, 500mm high from foundation | 26 | m2
8 | Emulsion paint to rendered walls | 26 | m2
Palisade
9 | Metal railings fixed into masonry | 25 | m
Doors
10
| Metal Gate; 4000 X 2300 mm | 1 | no.
11 | Metal Gate; 1000 X 2300 mm | 1 | no.
Total for Fence and Gates
Security Guard and Packaging Room
| Excavate top soil to reduced level; 150mm average depth | 3.5 | m3
| Excavate trenches and pits for foundation maximum depth not exceeding 500 mm | 8 | m3
| Disposal of surplus excavated material by spreading on site | 2 | m3
| Backfill with selected excavated material; trenches and pits | 6 | m3
| Make up levels with approved hardcore filling in layers not exceeding 150mm, well compacted | 10.5 | m3
| 1200 guage polythene sheet damp proof membrane laid on sand blinding | 23 | m2
| 25mm sand blinding to receive damp proof membrane | 23 | m2
Concrete Work
Class 10 plain, in-situ concrete
| Trenches and Pits; 50mm thick | 0.8 | m3
Class 15 reinforced, in-situ Concrete, washstone
| Oversite concrete; 150mm thick | 4 | m3
Class 20 reinforced, in-situ Concrete, washstone
| Strip Foundation; 200mm thick | 3 | m3
| Ground Beam; 140 x 200 mm | 0.7 | m3
Reinforcement
| 6mm stirrups to ground beam | 78 | m
| 6mm to floor concrete | 230 | m
| 10mm to ground beam | 104 | m
Formwork/Shuttering
| to edges of floor concrete | 21 | m
Masonry
| Blockwork Walls; 140 x 290mm CSEB, 6N/mm2 | 25 | m2
SUB-STRUCTURE TO SUMMARY
SUPERSTRUCTURE
GROUND FLOOR (G.F.) FRAMES
Class 20 Reinforced in-situ concrete; washstone
| Lintels; 140 x 100 | 0.4 | m3
| Ring beam; 140 x 250mm | 1 | m3
Reinforcement
| 6mm stirrups to lintel | 20 | m
| 6mm stirrups to Ring Beam | 91 | m
| 10mm to lintels | 52 | m
| 12mm to Ring Beam | 104 | m
G.F. FRAMES TO SUMMARY
EXTERNAL WALLS AND INTERNAL PARTITIONS
Masonry
| Blockwork Walls and columns; 140 x 290 mm CSEB, 4N/mm2 | 86 | m2
EXTERNAL WALLS AND INTERNAL PARTITIONS TO SUMMARY
PITCHROOF
| Metal Truss; 4.1 m span | 4 | no.
| 50 x 75 mm pine timber purlins | 45 | m
| Aluzinc roofing sheets, 0.4, accessories | 27 | m2
| Gutter | 1.5 | m
| 25 x 150 pine timber Facia Board | 21 | m
| Eaves board, 6mm plywood | 8 | m2
PITCHROOF TO SUMMARY
WINDOWS
Aluminium and glass, hinged, with mosquito netting
| 1200 x 1200mm; W1 | 3 | no.
| 600 x 700mm; W2 | 1 | no.
Burglar proofing
| 1200 x 1200mm; | 3 | no.
| 600 x 700mm | 1 | no.
WINDOWS TO SUMMARY
DOORS
Standard, galvanized metal door complete with ironmongery and high quality locks (no vision panels)
| Single Hinge door; 900 x 2000mm; D2 | 2 | no.
Wooden Panel Door with frame
| Single hinge door, internal door; 700 x 2000mm; D3 | 6 | no.
DOORS TO SUMMARY
FINISHES
Floor Finishes
| Glazed Porcelain floor tiles on 50mm thick sand and cement screed bed | 23 | m2
| Skirting tiles 100mm high on 13mm screed backing | 28 | m
Wall Finishes
| 12mm thick stabilised earth rendering on skirting of external walls, door and window jambs | 12 | m2
Painting
| Clear Vanish to external walls | 69 | m2
| Clear vanish to internal walls | 70 | m2
Ceiling Finishes
| Plywood, 6 mm | 23 | m2
FINISHES TO SUMMARY
ELECTRICAL INSTALLATIONS
| Distribution Box; 12-ways | 1 | no.
Earthing rod; 1200mm length including accessories
Cables
UPVC conduits, flexible pipe; 25mm; plastic boxes, circular boxes, etc.
Switches and sockets
Light fittings (internal 3no.and external 4no.)
ELECTRICAL INSTALLATIONS TO SUMMARY
| Description | Qty | Unit
SUMMARY PAGE
Sub-structure
G.F. Frames
External Walls and Internal Partitions
Pitchroof
Windows
Doors
Finishes
Electrical Installations
Total for Security and Packaging Room