## Export Summary
This document was exported from Numbers. Each table was converted to an Excel worksheet. All other objects on each Numbers sheet were placed on separate worksheets. Please be aware that formula calculations may differ in Excel.
Numbers Sheet Name | Numbers Table Name | Excel Worksheet Name
SUMMARY PAGE
| Table 1 | SUMMARY PAGE
PRELIMINARIES
| Table 1 | PRELIMINARIES
Centre For Excelence
| Table 1 | Centre For Excelence
security House
| Table 1 | security House
ext Toilet
| Table 1 | ext Toilet
Fencing
| Table 1 | Fencing
landscaping Works
| Table 1 | landscaping Works

## SUMMARY PAGE
GRAND SUMMARY
1 | MAIN BUILDING | 0
2 | SECURITY HOUSE | 0
3 | ExTERIOR TOILET | 0
4 | FENCE WORK | 0
5 | SITE FINISHING & VEGETATION | 0
| SUB TOTAL | 0
| 15% VAT | 0
| TOTAL Inc. VAT | 0
| 10% Contengency | 0
| GRAND TOTAL | 0

## PRELIMINARIES
BILLS OF QUANTITIES-BILL No.01-PRELIMINARIES
Project: Earth Builders Association center of Excellence
Item | Description | Qty | Unit | Rate | Amount
Bill No : 01 - PRELIMINARIES
Notes
A.1 | The contractor shall provide and maintain temporary sheds for the storage of materials, tools, and tackle and the use of all persons employed on the Site. Those used for the storage of cement and other perishable materials and the like are to be weatherproofed at all times | 1 | Item
A.2 | Provide, maintain and keep in a clean condition adequate temporary sanitary accommodation and facilities in accordance with the Development act 1981 for all persons employed on the Works. | 1 | Item
A.3 | Allow for supplying temporary electricity for the Works and facilities of the contractor including 'connection, distribution system for the work, internal arrangements and all payment to the authorities for connections.It is the responsibility of the Contractor to ensure steady and uninterrupted power supply to Works. The Contractor shall not be entitled to claim and the Employer shall not pay cost incurred by the Contractor for using electric power generators or for using other alternative power supply method in case there happened to be disruptions to normal power supply due to any reason. | 1 | Item
A.4 | Allow for provision of of water for the works including drinking water, and paying all charges and other expenses in connection with the supply from water mains or any other alternative method of water supply, storage and distribution. It is the sole responsibility of the contractor to ensure steady, uninterrupted adequate supply of water required for main contract and nominated sub contract work. | 1 | Item
A.5 | Allow for providing and maintenance of name board and advertising board to the specifications and as directed by the Engineer. | 1 | Item
A.6 | Allow for mobilization i.e plant, machinery, other equipments including work force etc to the site | 1 | Item
A.7 | Allow for any other item necessary for the proper execution of the works and not listed in the items above ( Please Provide a detailed List below) | 1 | Item
A | Preliminaries |  | To Summary |  | 0

## Centre For Excelence
Note:Unit price shall include related assistance works all formwork,logistics and a reasonable profit required to efficiently execute the works in this bill
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | 1. SUB-STRUCTURE
1.1 | Site preparation work
| Clearing of site,uprooting,carrying and disposing of vegetation,grass,bush,sapling and trees of any girth, as per instructions of the Site Engineer | m³ | 600 |  | 0
1.2 | Earth works in excavation
Earth works in excavation of foundation, including dressing of sides lift up to all depth as shown in drawing. Stacking of excavated materials clear from the edge of trenches with a reasonable lead specified by the Site Engineer, and filling of trenches (back filling) including water ramming, consolidation and dressing, including side wall protection and dewatering works, all complete
1.2.1 | at foundation trenches 600mm x 750mm depth | m³ | 63 |  | 0
1.2.2 | Pad Foundation Bases
a | Bases 1000mm x 1000mm x 750mm depth footing excavation | m³ | 9 |  | 0
1.3 | Filling work
| Hardcore fill on the structures in layers, not exceeding 200mm, include water ramming and consolidation (compaction more than 95% relative dry density) with gravel all complete as per drawing specification and instructions. (excluding backfiling of foundation trenches) | m³ | 70 |  | 0
1.4 | Anti-termite treatment of foundations and fillings with "DURSBAN" or any other approved. i.e trenches, bases and hardcore. | m² | 320 |  | 0
1.5 | Providing and filling of sand including water ramming all complete, 20mm | m³ | 178 |  | 0
Damp proof membrane
1.6 | 1200 gauge polythene sheets | m² | 300 |  | 0
1.7 | CONCRETE WORKS
1.7.1 | P.C.C Work
1.7.1.1 | Providing and pouring in situ machine mixed p.c.c with 20mm diameter aggregate washstones including the cost of compaction, levelling and curing, all complete; excluding the cost of reinforcement and formwork as per drawing specifications and functions. |  |  |  | 0
a | p.c.c C15 Nominal Mix (1:3:6) trench blinding | m³ | 10 |  | 0
b | p.c.c C25 Nominal Mix (1:2:4) footings | m³ | 9 |  | 0
c | P.c.c C20/25 Nominal Mix (1:2:4) floor Concrete 150mm thick | m³ | 35 |  | 0
1.7.2 | R.c.c Work
Providing and pouring in situ C20/25 machine mixed /machine vibrated plain cement concrete. Rates to include necessary ramming, leveling, curing and cost of mixtures etc. but excluding the cost of reinforcements and formwork as per drawing specifications and functions.
Note basalt aggregate mix
a | Ground Floor Beams 290 x 200mm C25 | m³ | 9.8 |  | 0
b | Filling CSEB hollow block with concrete C20 mix at foundation columns | m³ | 5.2416 |  | 0
1.8 | REINFORCEMENTS
1.8.1 | Providing and fixing in position high yield steel reinforcement in r.c.c works including straightening, cutting, bending, binding with 20 swg annealed wire for tying the reinforcement of all sizes of bars at each junction including all waste and cut pieces, placing in position with cover block of cement mortar, fixing of chairs and spacers to keep the bars in intended position at all levels as per the drawings, specifications and instructions (lapping, chairs and spacers) will be provided according to joint measurement at site with the spacing of 150mm for steel bars
1.8.1a | 12mm steel to Column Bases | m | 246 |  | 0
1.8.1b | 12mm steel to Columns | m | 164 |  | 0
1.8.1c | 12mm steel to ground beams | m | 817.9763 |  | 0
1.8.1d | 6mm steel stirrups columns | m | 300 |  | 0
1.8.1e | 6mm steel stirrups to ground beam | m | 800 |  | 0
1.8.1f | BRC Mesh to BS785-6mm; to floor Concrete | m² | 275 |  | 0
1.8.2 | Formwork
1.8..2a | to edges of floor concrete | m² | 10 |  | 0
1.8..2b | to Ground Beam | m² | 13.185 |  | 0
1.8.3 | Damp proof membrane
1.8..3a | 1200 gauge polythene sheets | m² | 296.52 |  | 0
1.9 | MASONRY
1.9.1 | Providing and laying of compressed stablized earth block (CSEB) 290 x 140mm block at 1m, at a mix ratio of 1:3:7 cement sand earth mix including leveling, curing and the cost of all materials | m² | 190 |  | 0
1.9.2 | Providing and laying of compressed stablized earth block (CSEB) 240 x 240mm block at 1m, at a mix ratio of 1:3:7 cement sand earth mix including leveling, curing and the cost of all materials | m² | 13 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
2 | 2.SUPERSTRUCTURE
2.1 | MASONRY
2.1.1 | Constructing walls from compressed stablized earth block (CSEB), at a mix ratio of 1:3:7 cement sand earth mix ratios shall include include curing and cost of all production, logistics and labour.
a | Blockwork (CSEB) 290 x 140 x 90mm, at a mix ratio of 1:3:7 cement sand earth mix 3.1m high | m² | 490.482 |  | 0
B | Blockwork (CSEB) 240 x 240 x 90mm, at a mix ratio of 1:3:7 cement sand earth mix 6.2m high | m² | 81 |  | 0
2.2 | CONCRETE WORKS
Providing and pouring in situ C20/C25 machine mixed plain cement concrete in columns, beams, including necessary ramming, leveling, curing etc. excluding the cost of reinforcement and formwork.
2.2.1 | filling with concrete C20 concrete mix at 390mm x 390mm hollow rectangular (CSEB) columns | m³ | 5 |  | 0
2.2.2 | Pouring C25 concrete mix at 290mm x 250mm beams | m³ | 13.2905 |  | 0
2.2.3 | Pouring C25 concrete mix at 240mm x 350mm springer beam for dome | m³ | 1.1 |  | 0
2.3 | Reinforcements
2.3.1 | Beams
2.3.1a | 6mm steel Bars | m | 893 |  | 0
2.3.1b | 12mm steel Bars | m | 633 |  | 0
2.3.2 | Columns
2.3.2a | 6mm steel bars, to columns | m | 800 |  | 0
2.3.2b | 12mm steel bars, to columns | m | 486 |  | 0
2.3.3 | Formwork
2.3.3a | to Beams | m² | 18 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
3 | 3.STAIR CASE & BALUSTRADES
3.1 | construction of 600mm high steps from C20/25 grade machine mixed /machine vibrated plain cement concrete.including necessary ramming, leveling, curing and cost of mixtures etc. but excluding the cost of reinforcement and formwork as per drawings specification and functions. | item | 4 |  | 0
3.2 | construction of 600mm high ramps from C20/25 grade machine mixed /machine vibrated plain cement concrete. Including necessary ramming, leveling, curing and cost of mixtures etc.but excluding the cost of reinforcement and formwork as per drawing specification and functions. | item | 3 |  | 0
3.3 | construction of round staircase consisting of C20/25 grade machine mixed /machine vibrated plain cement concrete in design mix in columns, beams & slabs including necessary ramming, leveling, curing and cost of mixtures etc.but excluding the cost of reinforcement and formwork as per drawings specification and functions. | m³ | 3 |  | 0
3.4 | Balustrade
3.4.1 | Balustrade overall 900mm high bolted to concrete, consisting of intermideat members per riser of the stair and 60mm diameter hand rail all in aluminium and as detailed. | m | 20 |  | 0
3.4.2 | Provide and fix in place 20mm thick ceramic riser tiles; color to be decided. | m2 | 8 |  | 0
3.4.5 | Provide and fix in place 30mm thick non - slip, ceramic tiles to landing area; color to be decided. | m2 | 20 |  | 0
3.4.6 | Providing and fixing in position high yeild steel reinforcement in r.c.c works including starightening,cutting,bending,binding with 20 swg annealed wire for tying the reinforcemnet of all sizes of bars at each junctions including all waste and cut pieces,placing in position with cover block of cement mortar,fixing of chiar,spacers to keep the bars in inteneded position at all levels as per the drawings,specifications and instruction (lapping,chairs and spacers)will be providing according to joint measurement at site.
| 10mm steel bars, to columns | m | 250 |  | 0
3.4.7 | Formwork
a | To steps and ramps | m2 | 10 |  | 0
b | to spiral staircase | m2 | 12 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
4 | 4. FINISHING WORK
4.1 | Plaster in soil cement mortar and apply final coat of gypsum plastering only to reception area internal walls | m² | 70 |  | 0
4.2 | Provide and apply 2 coats of approved plastic paint to all plastered surfaces, including ceiling cornice and slab soffit | m² | 370 |  | 0
4.3 | Provide and fix high quality non-slip porcelain floor tiles to toilets floor surfaces. (type and color to be approved) | m² | 29.4 |  | 0
4.4 | Provide and fix high quality ceramic wall tiles to toilet wall surfaces as indicated in the design. (color and pattern to approved) | m² | 96.6 |  | 0
4.5 | construction of pafoaretd Decorative wall with CSEB 140mm blocks @ conference area | m² | 30 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
5 | 5. ROOFS
5.1 | Construct Structural dome comprising of Compressed stabilized earth blocks 140 x 140 x 50 mm with a Cement Sand Mix ratio Of 1:2:8 well cured including all necessary materials required | m³ | 17 |  | 0
5.2 | Construct Structural Vaults comprising of Compressed stabilized earth blocks 140 x 140 x 50mm with a Cement Sand Mix ratio Of 1:2:8 well cured including all,labour cost and all necessary materials
| a) Training Shed Area | m² | 70 |  | 0
| b) passage way to the shed | m² | 20.7 |  | 0
5.3 | Roof Slab
5.3.1 | Providing and pouring on site C25 machine mixed /machine vibrated plain cement concrete 125mm thick. rates to include necessary ramming, leveling, curing and cost of mixtures etc.excluding the cost of reinforcement and formwork as per drawings specification and functions. | m³ | 30 |  | 0
5.3.2 | Reinforcements
| BRC Mesh, BS785-10mm; to slab | m² | 171.255 |  | 0
5.3.3 | Form work
| Edges of slab | m² | 18 |  | 0
| slab soffit | m² | 171.255 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
6 | 6.DOORS
6.1 | Providing and installing Panel (Hardwood) doors complete with frame, architraves and ironmongery
6.1.1 | 900 x 2100mm (D 02) | Nr | 5 |  | 0
6.1.2 | 750 x 2100mm (D 03) | Nr | 2 |  | 0
6.1.3 | 2700 x 2500mm (DD 01) | Nr | 1 |  | 0
6.1.4 | 1500 x 2100mm (DM 01) | Nr | 1 |  | 0
6.1.5 | 900 x 2100mm (DM 02) | Nr | 1 |  | 0
6.2 | Providing and installing Panel Galvenized metal doors complete with frame, architraves and ironmongery 2500 x 2500mm (D00 002) | Nr | 1 |  | 0
6.3 | Providing and installing of Doors: Wooden barn doors Sliding fixed glazing unit; powder coated aluminium frame gray tint; reflective. Including all necessary materials.
6.3.1 | 1500 x 2100mm (SD1) | Nr | 2 |  | 0
6.3.2 | 1000 x 2100mm (SD 03) | Nr | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
7 | 7.WINDOWS
7.1 | Providing and installing windows: Aluminium frame glazed (6mm) with powder coa aluminium frame. mosquito netting and fabricated burglar proof screen
7.1.1 | 900 x 1800mm (W 04) | Nr | 4 |  | 0
7.1.2 | 1200 x 1800mm (W 03) | Nr | 4 |  | 0
7.1.3 | 650 x 1800mm (W 02) | Nr | 1 |  | 0
7.1.4 | 600 x 450mm (W 01) | Nr | 2 |  | 0
7.1.5 | 2500 x 500mm (WW 01) | Nr | 3 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
8 | 8.FINISHES
8.1 | WALL FINISHES
8.1.1 | Prepare, prime and paint 2 finish coats of polish paint to CSEB walls | m² | 180 |  | 0
8.1.2 | 12mm thick render to walls and jambs | m2 | 150 |  | 0
8.1.3 | Ceramic tiles on 13mm cement mortar bed (Toilets) | m2 | 27.851 |  | 0
8.1.4 | Ceramic tiles on 13mm cement mortar bed (Kitchen) | m2 | 51.5 |  | 0
8.2 | PAINTING AND DECORATION
8.2.1 | Prepare, prime and paint 2 finish coats emulsion paint to rendered walls | m2 | 150 |  | 0
8.3 | FLOOR FINISHES
8.3.1 | Porcelain tiling.
| Porcelain (non slip) tiles on 40mm semi dry cement/sand screed. | m2 | 293 |  | 0
8.3.2 | Skirting tiles to match floor, 120mm | Item | -------- |  | 0
8.3.3 | prime and paint 2 coats of vanish paint to all parts of exterior walls | m2 | 405 |  | 0
8.4 | CEILING FINISHES
8.4.1 | Install platre cornice to the perimeter of the interior wall ceilings | m | 202 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
9 | 9.SERVICES
9.1 | SANITARY APPLIANCES
9.1.1 | Wash basin; white vitreous china with pedestal;-32mm slotted waste chain, stay and plug;-13mm pillar taps, fixed basin to masonry with-screws sealing at back with mastic. W.C. suites, vitreous china, closed coupled, washdown and connector, plastic ring seat;-fixing pan with screws to masonry.-Toilet roll holder, with chrome finish.-safety rails | item | 2 |  | 0
9.1.2 | Mirrors: B.S. 952, clear float, SG, silvered and protected with copper backing: 4mm thick; fixed to masonry with brass screws, chromium plated domical covers, rubber sleeves and washers. Waterproof LED - 300 x 460mm | item | 2 |  | 0
9.1.3 | Steel sink, double bowl and double drainer |  | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
9.2 | DISPOSAL INSTALLATION
9.2.1 | UPVC, waste pipes with flexible joints, complete with and fittings nominal size 80mm diameter - Provisional | Nr | 3 |  | 0
9.2.2 | UPVC, Waste pipes with flexible joints, complete | Nr | 3 |  | 0
9.2.3 | with and fittings nominal size 80mm diameter, | Nr | 10 |  | 0
9.2.4 | Drainage pipes; excavated trenches; removing surplus; backfilling with excavated material
9.2.5 | Upvc 110mm nominal size | Nr | 6 |  | 0
9.2.6 | Upvc 110mm nominal size (Foul) | Nr | 8 |  | 0
9.2.7 | Upvc 110mm nominal size (vertical pipe) | Nr | 12 |  | 0
9.2.8 | Upvc 110mm nominal size (Storm) | Nr | 15 |  | 0
9.2.9 | extra over for fittings 110mm | Nr | 20 |  | 0
9.2.10 | Construct manhole, excavate and compact, earthwork support; lay 150mm concrete base; 200 mm thick blockwork rendered internally, benched with concrete sloped to channel and finished with cement sand rendered trowel smooth, into end of drain pipe. 800 x 800 x 500mm depth approx | Nr | 2 |  | 0
9.2.11 | Construct soakaway, excavate compact bottom of excavation, earthwork support lay concrete foundation 200mm; build one block thick honey comb wall, boulder stone filling to the outer perimeter of wall, complete with slab and inspection chamber and cover. Overall size 3150 x 4000mm | Nr | 1 |  | 0
9.3 | WATER INSTALLATION
9.3.1 | water supply pipes to building, including excavated trenches average depth 750mm sand bedding and pipe ducts with bends and connectors;
9.3.1 | Polythene 25mm. | m | 20 |  | 0
9.3.2 | Pex pipes, suitable for water supply and fittings, fixed to wall with clips, (complete with elbows and Tees.) | m | 15 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
10 | 10.ELECTRICAL INSTALLATIONS
10.1 | Electrical installations; lighting and power installations single phase. (included for all earthing requirements)
Equipment
10.1.1 | Surface mounted sub main distribution board SMDB-MC-GF with lockable door, bus-bars rating of 400A/3ph and with all its accessories consisting of :- 1 pc m.c.c.b. of 320A/3ph: - 1 pc m.c.c.b. of 200A/3p h: - 1 pc m.c.b. of 50A/3ph: - 1 pc m.c.b. of 40A/3ph:- 2 pcs m.c.b. of 32A/3ph - 1 pcs m.c.b. of 50A/1ph: - 2 pcs m.c.b. of 40A/1ph - and with 20% reserve space | Item | 1 |  | 0
10.1.2 | Cables (final circuit) | Item | -----
10.1.3 | UPVC conduits (final circuit) | Item | -----
10.1.4 | Ceiling mounted light fittings | Item | 20 |  | 0
10.1.5 | Wall mounted light fittings | Item | 12 |  | 0
10.1.6 | Lighting switch, single gang, 5A | Item | 4 |  | 0
10.1.7 | Lighting switch point, one gang - two way, 5A | Item | 3 |  | 0
10.1.8 | Lighting switch point, one gang - three way, 5A | Item | 10 |  | 0
10.1.9 | Socket points, 13A switched, double | Item | 6 |  | 0
10.1.10 | Double socket outlet 450mm above work top | Item | 15 |  | 0
10.1.11 | Air Conditioner switch point (Provisional) | Item | 7 |  | 0
10.1.12 | Ceiling fan complete with control | Item | 8 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
11 | 11. WATER TANKS & WATER PUMPS
11.1 | Supply and fix, Domestic roof water tank, all with manufacturer's instruction & technical specification.Price shall include all required fittings ,accessories, pipe connection works with control valves (inlet,outlet,overflow, & drain) ,vent , float ball operated control valve , fixing in position and , related assistance civil works. (provisional) | item | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
| Description | Quantity | Unit | Rate | Amounnt
BILL SUMMARY
|  | 1 |  |  | 0
|  | 2 |  |  | 0
|  | 3 |  |  | 0
|  | 4 |  |  | 0
|  | 5 |  |  | 0
|  | 6 |  |  | 0
|  | 7 |  |  | 0
|  | 8 |  |  | 0
|  | 9 |  |  | 0
|  | 10 |  |  | 0
|  | 11 |  |  | 0
| TOTAL SUMMARRY FOR BILL ……………………………………… |  |  |  | 0

## security House
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | 1. SUB-STRUCTURE
1.1 | Site preparation work
| Clearing of site,uprooting,carrying and disposing of vegetation,grass,bush,sapling and trees of any girth, as per instructions of the Site Engineer | m³ | 10 |  | 0
1.2 | Earth works in excavation
Earth works in excavation in foundation, including dressing of sides lift up to all depth as shown in drawing stacking of excavated materials clear from the edge of trenches with a reasonable lead specified by the Site Engineer, and filling the trench (back filling) including water ramming, consolidation and dressing, including side wall protection and dewatering works, all complete
| at foundation trenches 600mm x 750mm depth | m³ | 5.85 |  | 0
1.3 | Filling work
Earthwork infilling for floor and on the structures in layers, not exceeding 200mm, include watering ramming and consolidation (compaction more than 95% relative dry density) with gravel all complete as per drawing specification and instructions.
1.3.1 | Trenches | m³ | 5.85 |  | 0
1.3.2 | hard core 450mm above ground level | m³ | 4.5 |  | 0
1.4 | Anti-termite treatment of foundations and fillings with "DURSBAN" or any other approved.by the Site Engineer
1.4.1 | Trenches | m² | 8.5
1.4.2 | Hardcore | m² | 10
|  |  | 18.5 |  | 0
1.5 | CONCRETE WORK
1.5.1 | Supplying and laying machine mixed P.c.c with 20mm diameter aggregate including the cost of formwork, compaction, levelling and cure all complete set p.c.c Nominal Mix (1:3:6)
1.5.1a | To foundation trench | m³ | 0.78 |  | 0
1.5.1b | To floor concrete 100mm thick | m³ | 0.75 |  | 0
1.6 | MASONRY
| providing and laying of compressed stablized earth block (CSEB) 290 x 140 x 90mm, at a mix ratio of 1:3:7 cement sand earth Mix including leveling curing and the cost of all materials | m² | 13.86 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
2 | 2.SUPERSTRUCTURE
2.1 | MASONRY
| providing and laying of compressed stablized earth block (CSEB) 290 x 140 x 90mm, at a mix ratio of 1:3:7 cement sand earth Mix including levelin curing and the cost of all formwork and materials | m² | 40 |  | 0
2.2 | CONCRETE WORK
Supplying and pouring in situ machine mixed concrete with C20 coarse aggregate mix R.c.c Nominal Mix (1:2:4) including all materials required excluding Reinforcement and formworks
2.2.1 | Beams 150mm x 200mm | m³ | 0.6 |  | 0
2.3 | REINFORCEMENT
Providing and fixing high yield steel reinforcement in r.c.c works including straightening, cutting, bending, binding with 20 swg annealed wire for tying the reinforcement of all sizes of bars at each junctions including all waste and cut pieces, placing in position with cover block of cement mortar, fixing of chair, spacers to keep the bars in intended position at all levels as per the drawings, specifications and instruction (lapping, chairs and spacers) will be provided according to joint measurement at site
2.3.1 | Beams
| a)6mm steel Bars as stirrups | m | 120 |  | 0
| b)10mm steel Bars as main bar | m | 60 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
3 | 3.FINISHES
3.1 | PAINTING AND DECORATION
| Prepare, prime and paint 2 finish coats of polish paint to CSEB walls | m² | 50 |  | 0
3.3 | Provide and fix high quality non-slip porcelain floor tiles to floor surfaces. (type and color to be approved) | m² | 10 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
4 | 4.Roofs
4.1 | Construct Structural Ziggurate comprising of Compressed stabilized earth blocks 290 x 140 x 50mm with a Cement Sand Mix ratio Of 1:2:8 and 28 days curing period including formwork and all necessary materials required | m² | 20 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
5.DOORS
5.1 | Providing and installing Panel (metal) doors complete with frame, architraves and ironmongery 900 x 2100mm (D 01) | Item | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
6 | 6.WINDOWS
6.1 | Providing and installing windows: Aluminium frame glazed (6mm) with powder coa aluminium frame. mosquito netting and fabricated burglar proof screen
6.1.1 | 1500 x 1.500mm | Nr | 1 |  | 0
6.1.2 | 900 x 1600mm | Nr | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
7 | 7.ELECTRICAL
7.1 | Distribution Boards
| Distribution board , breakers , switches, accessories etc should be genuine Legrand , ABB, Siemens or approved equivalents complying with IEC standards. Distribution boards should be made of sheet metal and have separate neutral and ground busbars/phase bars.All units in the distribution boards should should be labled to give the reference and duty of the unit. | Item | 1 |  | 0
7.2 | Outdoor garden bronze LED light outside wall lantern lamp E27 220v waterproof outdoor vintage wall lights | Item | 2 |  | 0
7.3 | Lighting switch point, one gang - two way, 5A | Item | 2 |  | 0
7.4 | Wall mounted light fittings | item | 4 |  | 0
7.5 | Socket points, 13A switched, double | Item | 2 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
| Description | Quantity | Unit | Rate | Amounnt
BILL SUMMARY
|  | 1 |  |  | 0
|  | 2 |  |  | 0
|  | 3 |  |  | 0
|  | 4 |  |  | 0
|  | 5 |  |  | 0
|  | 6 |  |  | 0
|  | 7 |  |  | 0
|  | 8 |  |  | 0
| TOTAL SUMMARRY FOR BILL ……………………………………… |  |  |  | 0

## ext Toilet
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1.SUB-STRUCTURE
1.1 | Site preparation work
| Clearing of site, uprooting,carrying and disposing of vegetation, grass, bush, sapling and trees of any girth, as per instructions of the Site Engineer | m³ | 7.5 |  | 0
1.2 | Earth works in excavation
Earth works in excavation in foundation, including dressing of sides lift up to all depth as shown in drawing stacking of excavated materials clear from the edge of trenches with a reasonable lead specified by the Site Engineer, and filling the trench(back filling) including water ramming, consolidation and dressing, including side wall protection and dewatering work all complete
| at foundation trenches 600mm x 750mm depth | m³ | 4.5 |  | 0
1.3 | Filling work
Earthwork infilling under floor and on the structures in layers, not exceeding 200mm, include watering ramming and consolidation (compaction more than 95% relative dry density) with gravel all complete as per drawing specification and instructions.
| Trenches | m³ | 3.1 |  | 0
| To hard core 450mm above ground level | m³ | 2.8 |  | 0
Anti-termite treatment of foundations and fillings with "DURSBAN" or any other approved.by the site engineer
| Trenches | m² | 3.1 |  | 0
| Hardcore | m² | 7.2 |  | 0
1.3 | CONCRETE WORK
Providing and laying machine mixed P.c.c with 20mm down agregate including the cost of formwork,compaction,levelling and cure all complete set p.c.c Nominal Mix (1:3:6)
| at floor slab 100mm thick | m³ | 0.9 |  | 0
1.4 | MASONRY
| providing and laying of compressed stablized earth block (CSEB) 240mm thick Brick, at a mix ratio of 1:3:7 cement sand earth Mix including levelin curing and the cost of all formwork and materials | m² | 12.5 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
2 | 2.SUPERSTRUCTURE
2.1 | MASONRY
| providing and laying of compressed stablized earth block (CSEB) 290 x 140 mm, at a mix ratio of 1:3:7 cement sand earth Mix including levelin curing and the cost of all formwork and materials | m² | 30 |  | 0
2.2 | CONCRETE WORK
Providing and pouring in situ machine mixed /machine vibrated plain cement concrete with C20 mix
2.2.1 | at 290mm x 200mm beams | m³ | 0.3 |  | 0
2.2.2 | reinforcements
2.3 | Reinforcements
2.3.1 | Beams
2.3.1a | 6mm steel Bars | m | 60 |  | 0
2.3.1b | 10mm steel Bars | m | 50 |  | 0
2.4 | Formworks
2.4.1 | to beams
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
3 | Doors
Providing and installing Panel (Metal) doors complete with frame, architraves and ironmongery
3.1 | 750 x 2100mm (D 02) | Nr | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
4 | WINDOWS
Providing and installing windows: Aluminium frame glazed (6mm) with powder coa aluminium frame. mosquito netting and fabricated burglar proof screen
4.1 | 600 x 750mm | Nr | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
5 | FINISHES
5.1 | PAINTING AND DECORATION
| Scrub and smoothing all wall and paint 2 coats of vanish | m² | 70 |  | 0
5.2 | Floor Finish
| Provide and fix high quality non slip porcelain floor tiles to toilets floor surfaces. (type and color to be approved) | m² | 7.2 |  | 0
Roofs
5.3 | Construct Structural Vaults comprising of Compressed stabilized earth blocks 140 x 140 x 50mm with a Cement Sand Mix ratio Of 1:2:8 well cured including all labour cost and all necessary materials | m² | 9 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
6 | ELECTRICAL WORKS
6.1 | Distribution Boards
Breaker , switches, accessories etc should be genuine Legrand , ABB, Siemens or approved equivalents complying with IEC standards. Distribution boards should be made of sheet metal and have separate neutral and ground busbars/phase bars.All units in the distribution boards should should be labled to give the reference and duty of the unit.
6.1.1 | install Breaker connected from Distribution Board from the main Building | item | 1 |  | 0
6.1.2 | Cables (final circuit) | Item | -----
6.1.3 | UPVC conduits (final circuit) | Item | -----
6.1.4 | Ceiling mounted lights fittings | Item | 2
6.1.5 | Wall mounted light fittings | Item | 4
TOTAL CARRIED TO SUMMARY ………………………………………
7 | SERVICES
SANITARY APPLIANCES
7.1 | Wash basin; white vitreous china with pedestal;-32mm slotted waste chain, stay and plug;-13mm pillar taps, fixed basin to masonry with-screws sealing at back with mastic. W.C. suites, vitreous china, closed coupled, washdown and connector, plastic ring seat;-fixing pan with screws to masonry.-Toilet roll holder, with chrome finish.-safety rails | item | 1 |  | 0
7.2 | Steel sink, double bowl and double drainer | item | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
8 | DISPOSAL INSTALLATION
8.1 | UPVC, waste pipes with flexible joints, complete with and fittings nominal size 80mm diameter - Provisional | Nr | 4 |  | 0
8.2 | UPVC, waste pipes with flexible joints, complete with and fittings nominal size 80mm diameter - Provisional | Nr | 10 |  | 0
8.3 | Drainage pipes; excavated trenches; removing surplus; backfilling with excavated material
8.4 | Upvc 110mm nominal size | Nr | 8 |  | 0
8.5 | Upvc 110mm nominal size (Foul) | Nr | 8 |  | 0
8.6 | Upvc 110mm nominal size (vertical pipe) | Nr | 10 |  | 0
8.7 | Upvc 110mm nominal size (Storm) | Nr | 10 |  | 0
8.8 | extra over for fittings 110mm | Nr | 20 |  | 0
8.9 | Construct manhole, excavate and compact, earthwork support; lay 150mm concrete base; 200 mm thick blockwork rendered internally, benched with concrete sloped to channel and finished with cement sand rendered trowel smooth, building in end of drain pipe. 800 x 800 x 500mm depth approx | Nr | 1 |  | 0
8.1 | prepare pipe works to connect to soakaway of the Main building | Nr | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
9 | WATER INSTALLATION
9.1 | water supply pipes to building, including excavated trenches average depth 750mm sand bedding and pipe ducts with bends and connectors;
9.2 | Polythene 25mm. | m | 10 |  | 0
9.3 | Pex-pipe, 15mm water supply pipe and fittings, fixed to wall with clips, (complete with elbows and Tees.) | m | 20 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0 | 3
2
ß
| Description | Quantity | Unit | Rate | Amounnt
BILL SUMMARY
| Summary | 1 |  |  | 0
| Summary | 2 |  |  | 0
| Summary | 3 |  |  | 0
| Summary | 4 |  |  | 0
| Summary | 5 |  |  | 0
| Summary | 6 |  |  | 0
| Summary | 7 |  |  | 0
| Summary | 8 |  |  | 0
| Summary | 9 |  |  | 0
| TOTAL SUMMARRY FOR BILL ……………………………………… |  |  |  | 0

## Fencing
Note:Unit price shall include related assistance works allformwork,logistics and a reasonable profit required to efficiently execute the works in this bill
Item | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | 1. DEMOLISHING WORK
| Demolish existing Boundary wall of plot and cart away to a distance not exceeding 10km away from site. | m2 | 240 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
2 | 2.FOUNDATION AND EARTHWORKS
2.1 | Clear off the site to remove top soil to an average depth of 20cm | m2 | 72 |  | 0
2.1.2 | Excavation for isolated footing in ordinary soil from reduced level to 750cm depth | m3 | 8.1 |  | 0
2.1.3 | Trench excavation in ordinary soil to a maximum depth of 600cm from Natural Ground level. | m3 | 45.9 |  | 0
2.1.4 | Fill around foundation with gravel brought from outside and ram well by sprinkling water and using hand compactor. | m3 | 54 |  | 0
2.2 | 2.2CONCRETE WORK
2.2.1 | Reinforced sub structure concrete
Providing and pouring in situ machine mixed /machine vibrated plain cement concrete. rates to include necessary ramming, leveling, curing and cost of mixtures. But excluding the cost of reinforcement and formwork as per drawings specification and functions.
| 5cm thick Lean Concrete class C15/20 (1:3:6) mix | m3 | 6 |  | 0
| C-20 in footing pad | m3 | 1.55 |  | 0
| C-20 in filled to CSEB column 390mm x 390mm | m3 | 5.1 |  | 0
2.2.2 | Reinforcement
Providing and fixing in position high yield steel reinforcement in r.c.c works including straightening, cutting, bending, binding with 20 swg annealed wire for tying the reinforcement of all sizes of bars at each junctions including all waste and cut pieces, placing in position with cover block of cement mortar, fixing of chiar, spacers to keep the bars in intended position at all levels as per the drawings,specifications and instruction (lapping,chairs and spacers)will be providing according to joint measurement at site
2.2.2a | Diameter, 10mm to footing & column | m | 330 |  | 0
2.2.2b | Diameter,6mm stirrup in column | m | 500 |  | 0
2.3 | 2.3 MASONERY WORK
Providing 290m thick Compressed Stabilized Earth Block and 1:3:7 cement sand earth Mix
| to 2m high walls from the wall CSEB 290mm Block | m² | 120 |  | 0
| to 1m high walls from from CSEB 290mm Block | m² | 60 |  | 0
| construction of columns with 390mm x 380mm CSEB from hollow brick filled with C-25 grade concrete | m² | 30 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
3 | 3. FINISHING
3.1 BALUSTRADES
| Balustrade overall 900mm high bolted to concrete, consisting of four intermideat members per half firght of the stair and diameter 60mm hand rail all in aluminium and as detailed. | m | 400 |  | 0
3.2 | Brick Finish
| Thoroughly cleaning the brick wall with a wire brush and soapy water to scrub the brick and remove any efflorescence (those streaky deposits) or dirt. | m² | 480 |  | 0
| supply and paint 2 coats of vanish to all sides of the wall | m² | 480 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
4 | 4.DOOR or OPENING
4.1 | Providing and installing gate 4m wide.Hinged door in the middle of the fence | Nr | 1 |  | 0
4.2 | Provide and installing a circular opening gate 2.5m in diameter | Nr | 1 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
5 | 5. Electrical Works
5.1 | Electrical installations; lighting and power installations single phase. (included for all earthing requirements)
5.1.2 | Cables (final circuit) | m | 100 |  | 0
5.1.3 | UPVC conduits (final circuit) | Nr | 10 |  | 0
5.1.4 | providing and installing light fittings on to the of columns at an interval of 10m spacing. | Nr | 4 |  | 0
5.1.5 | Lighting switch, single gang, 5A installed at the security House | Nr | 1 |  | 0
5.1.6 | Lighting switch, double gang, 5A installed at the security House | Nr | 2 |  | 0
| TOTAL CARRIED TO SUMMARY ……………………………………… |  |  |  | 0
| Description | Quantity | Unit | Rate | Amounnt
BILL SUMMARY
| Summary | 1 |  |  | 0
| Summary | 2 |  |  | 0
| Summary | 3 |  |  | 0
| Summary | 4 |  |  | 0
| Summary | 5 |  |  | 0
| TOTAL SUMMARRY FOR BILL ……………………………………… |  |  |  | 0

## landscaping Works
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | SITE WORK & PREPARATION
1.2 | Excavation for landscape area to remove topsoil to an average depth of 75cm | m3 | 75 |  | 0
1.3 | Cart away surplus material not exceeding 10km from the site | m3 | 50 |  | 0
1.4 | Fill under hard core with average thickness of 400mm selected granular material brought from outside the site well palled and compacted with every 200mm - well compacted | m3 | 5 |  | 0
1.5 | Supply & fix 5cm thick colored seamingless pattern paving tile floor bedded and joint grouted in cement and mortar mix (1:3) price shall include 3cm thick cement and sand mortar bedding | m2 | 296 |  | 0
1.6 | providing and laying of compressed stabilized earth block (CSEB) 190mm, for planters at 450mm high from ground level | m2 | 15 |  | 0
1.7 | Fill under built planters with average thickness of well manured loamy soil with cow dung manure or poultry dung | m3 | 10.8 |  | 0
1.8 | Planting english ivy / bougonvalier plant around the perimeter of the fence watered and well natured for 3months Minimum | item | ------
| TOTAL SUMMARRY FOR BILL ……………………………………… |  |  |  | 0